- SPECIFICATION FOR KODAH® WALL SYSTEM

- PART 1:  GENERAL

1.1	Scope

Work includes furnishing and installing concrete retaining wall units to the lines and grades designated on the construction drawings and as specified herein.

1.2   Reference Standards

AASHTO M288 Geotextile Specifications for Highway Applications

ACI 301 Structural Concrete

ASTM C33 Concrete Aggregates

ASTM C39 Compressive Strength of Concrete

ASTM C143 Slump of Concrete

ASTM C231 Air Content of Concrete

ASTM C557 Adhesives for Fastening Gypsum Wallboard to Wood Framing

ASTM C719 Adhesion and Cohesion of Elastomeric Joint Sealants under Cyclic Movement

ASTM C794 Adhesion-in-Peel of Joint Sealants

ASTM C1776 Wet-Cast Precast Modular Retaining Wall Units

ASTM D412 Vulcanized Elastomers - Tension

ASTM D448 Sizes of Aggregate for Road and Bridge Construction

ASTM D698 Laboratory Compaction Characteristics of Soil Using Standard Effort

ASTM D1557 Laboratory Compaction Characteristics using Modified Effort

ASTM D3498 Adhesives for Field-Gluing Plywood to Lumber Framing for Floor Systems

ASTM D6637 Tensile Properties of Geogrid

HUD/FHA Use of Materials Bulletin #60

1.3   Delivery, Storage, and Handling

A.	Contractor shall check the materials upon delivery to assure proper material has been received.

B.	Contractor shall prevent excessive mud, wet concrete and like materials from coming in contact with the precast modular block units.

C.	Contractor shall protect the materials from damage.  Damaged material shall not be incorporated in the project.

PART 2:  MATERIALS

2.1	Wall Units

A.	Wall units shall be Kodah® precast modular block units as produced by a manufacturer licensed and authorized by the precast modular block licensor to produce the units.

B.	Wall units shall have Kodah® block specifications and be made from wet-cast, ready-mixed concrete in accordance with ASTM C1776, per the following chart, and as modified herein.

| Climate (Weathering Regions per ASTM C33) | Air Content % | 28-Day Compressive Strength psi (MPa) | Slump* in (cm) | Min. Concrete Temp. at Placement °F (°C) |
| --- | --- | --- | --- | --- |
| Negligible | 1½ to 4½ | 4000 (27.6) | 3 to 5 (7.6 to 127) | 50 (10) |
| Moderate | 3 to 6 | 4000 (27.6) | 3 to 5 (7.6 to 127) | 50 (10) |
| Severe | 4½ to 7½ | 4000 (27.6) | 3 to 5 (7.6 to 127) | 50 (10) |

All Kodah products shall use frost-free aggregate.

*Higher slumps are allowed if achieved by use of appropriate admixtures.

- Notwithstanding anything stated above, all material used in the wall units must meet applicable ASTM and ACI requirements for exterior concrete.

C.	Exterior block dimensions, as measured in accordance with ASTM C1776, shall be uniform and consistent. Maximum dimensional deviations shall be 1/8 inch (3 mm) or 2%, whichever is less, excluding the architectural surface.  Maximum width (face to back) deviation including the architectural surface shall be 1/2 inch (13 mm).

D.	Exposed faces shall have a textured finish.  Other surfaces to be smooth form or troweled surface type.

E.	Units shall be free of chips, holes, and larger than the dimensions described in ASTM.

2.2	Aggregate and Fill Material

A.	    Leveling pad shall be crushed stone, meeting the requirements of ASTM No. 57 aggregate or similar material as approved by the Engineer.

B.	    Free draining backfill material shall be washed stone, shall be placed to a minimum of 12 inches (305 mm) width behind the back of the wall blocks, and shall extend vertically from the Leveling Pad to an elevation 4 inches (102 mm) below the top of wall.  Free draining backfill shall meet the requirements of ASTM No. 57 or approved similar material.

C.	   Backfill material and reinforced soil material (if needed) shall be suitable soils meeting the strength properties as required by the design and be approved by the geotechnical engineer.  Site excavated soils may be used if suitable and approved by the geotechnical engineer.  Suitable soils generally include predominately granular soils with non-plastic fines.  Unsuitable soils, those with a PI>6, organic soils, saturated soils,  and frost susceptible soils, shall not be placed within a 1 to 1 influence area from the base of the wall.

E.    Where additional fill is needed, the Contractor shall submit sample and specifications to the Engineer for approval.

2.3	Drainage

A.	Internal and external drainage shall be evaluated by the Professional Engineer who is responsible for the final wall design.

B.	Perforated drain pipe should be a minimum of 4 inches (102 mm) in diameter, meeting the requirements of AASHTO M278 (corrugated or smooth-walled PVC) or AASHTO M252 (corrugated polyethylene).

2.4	Geotextile & Geogrid

A.	Non-woven geotextile fabric shall meet the requirements for Class 3 construction survivability in accordance with AASHTO M288.

B.	Geogrid reinforcement shall be a woven or knitted PVC-coated geogrid manufactured from high-tenacity PET polyester fiber with an average weight greater than 25,000 (Mn > 25,000) and a carboxyl end group less than 30 (CEG < 30).  The geogrid shall be furnished in prefabricated roll widths of certified tensile strength by the manufacturer.  The ultimate tensile strength of reinforcement shall be as shown of the plans and measured in accordance with ASTM D6637.

2.5	Concrete Adhesive

A.	Use construction adhesive meeting the requirements of ASTM D3498 and C557 and HUD/FHA Use of Materials Bulletin #60 or one-component, highly-flexible, non-priming, gun-grade, high-performance elastomeric polyurethane sealant with movement of +/-25% per ASTM C719, tensile strength greater than 200 psi (1.4 MPa) per ASTM D412, and adhesion to peel on concrete greater than 20 PLI per ASTM C794.

## PART 3:  CONSTRUCTION OF WALL SYSTEM

3.1  Excavation

A.	    Contractor shall excavate to the lines and grades shown on the construction drawings.

3.2  Foundation Soil Preparation

A.	Native foundation soil shall be compacted to 95% of standard proctor maximum dry density (ASTM D698) or 90% of modified proctor maximum dry density (ASTM D1557) prior to placement of the leveling pad material.

B.	In-situ foundation soil shall be examined by the geotechnical engineer to ensure that the actual foundation soil strength meets or exceeds assumed design strength.  Foundation soil found to be unsatisfactory shall be removed and replaced with acceptable, compacted material, or otherwise improved, to the satisfaction of the geotechnical engineer.

3.3  Leveling Pad Placement

A.	    Leveling Pad shall be placed as shown on the

construction drawings.

B.	    Leveling Pad shall be placed on undisturbed native soils or suitable replacements fills as directed by the geotechnical engineer.

C.	     Leveling Pad shall be placed in uniform maximum lifts of 6 inches (152 mm) and compacted by a minimum of three passes of a vibratory compactor capable of exerting 2,000 lbs (8.9 kN) of centrifugal force to the satisfaction of the geotechnical engineer.  Pad shall be constructed to the proper elevation to ensure the final elevation shown on the plans.

D.    Leveling Pad shall have a 6-inch (152 mm) minimum depth or deeper as designed by the Professional Engineer responsible for the wall.  Pad dimensions shall extend beyond the blocks in all directions to a distance at least equal to the depth of the pad or as designed by the Engineer.

E.    Place perforated drain pipe in leveling pad and connect to suitable gravity outlet, as shown on the design.

3.4  Unit Installation

A.	The first course of wall units shall be placed on the prepared Leveling Pad with the long sides facing out and the front edges tight together.  All units shall be checked for level and alignment as they are placed.

B.	Ensure that units are in full contact with Leveling Pad.  Proper care shall be taken to develop straight lines and smooth curves on base course as per wall layout.

C.	The backfill in front and back of entire base row shall be placed and compacted to firmly lock them in place.  Check all units again for level and alignment.  Backfill to a 12-inch (305 mm) width behind the block with Free Draining Backfill.  Fill the triangular gaps between the backs of the units with drainstone.  Spread backfill in uniform lifts not exceeding 6 inches (203 mm).  Employ methods using lightweight compaction equipment that will not disrupt the stability or batter of the wall.  Hand-operated plate compaction equipment shall be used around the block and within 3 feet (0.91 m) of the wall to achieve consolidation.  Compact backfill to 95% of standard proctor maximum dry density (ASTM D698) or 90% of modified proctor maximum dry density (ASTM D1557) within 2% of its optimum moisture content.

D.	All excess material shall be swept from top of units.  Install next course of wall units on top of base row.  For retaining applications, position blocks to be setback from front of previous course ¾ inch (19 mm).  Check each block for proper alignment and level.

E.	For freestanding applications, use concrete adhesive between courses of block.  Apply adhesive to dry, swept-clean surfaces in accordance with the adhesive manufacturer’s instructions.  Install blocks with long faces alternating between one side of wall and the other.  Do not setback courses for freestanding walls.

F.	Install each subsequent course in like manner.  Repeat procedure to the extent of wall height.

G.	Allowable construction tolerance at the wall face is 2 degrees vertically, 3 inches (76 mm) maximum, and 1 inch in 10 feet (25 mm in 3.0 m) horizontally.

H.	All walls shall be installed in accordance with local building codes and requirements.

3.5  Geogrid Installation

A.	Construct wall and place and compact reinforced soil to the elevation of the first layer of geogrid.

B.	Place geogrid layers as shown in the project details extending into the reinforced soil zone to the design length.

C. 	Install geogrid with the strong direction (roll or machine direction) into the reinforced soil zone and not parallel to the wall.  Place geogrid as a continuous length from its connection at the blocks to the back of the reinforced zone.  Do not splice or overlap the geogrid.  Make sure the geogrid is as close as possible to the front face of the wall without being visible.

D.	Use the next course of blocks to secure the front end of the geogrid.  Pull the geogrid taut to eliminate any folds and pretension the geogrid.  Backfill from face to back of reinforced soil zone to maintain a taut condition.

E.	Place and compact drainstone and reinforced fill starting from the back of the blocks and continuing to the back of the reinforced soil zone to maintain tension on the geogrid.  Place drainstone and reinforced fill in maximum 6-inch (152 mm) lifts and compact to 95% of standard proctor maximum dry density (ASTM D698) or 90% of modified proctor maximum dry density (ASTM D1557) within 2% of its optimum moisture content.  Hand-operated plate compaction equipment shall be used around the block and within 3 feet (0.91 m) of the wall to achieve consolidation.

F.	Do not operate rubber tire nor track vehicles on the geogrid without a minimum 6 inches (152 mm) of reinforced soil over the geogrid.  Avoid sudden braking or turning over the reinforced soil zone.

PART 4:  AVAILABILITY

Rosetta products are available from a licensed manufacturer, authorized to produce the units, or an authorized dealer.  For a list of approved manufacturers contact:

Rosetta Hardscapes® LLC

05481 South US-31,

Charlevoix, MI  49720

1-844-367-9763

www. rosettahardscapes.com

info@rosettahardscapes.com